## Attention
Please pay attention to the following point !
This submission form can only be used if macros are activated. Please ensure that Microsoft Excel security settings are set properly! You can find exemplary descriptions on how to enable macros in Excel 2003 and Excel 2010 as shown below.
Excel 2010
Change the security settings, close and reopen this file and activate the execution of macros.
Excel 2003
Change the security settings to "medium", close and reopen this file and allow the execution of macros.
1
2
3
4
5

## submission form (1) (hidden)
RNA submission form
Please pay attention to the following points !
1 | For our standard protocols we need 1 µg of total RNA . Whenever possible, please provide us with more material to enable us to repeat single processing steps, if necessary. Remaining RNA will be filed and stored to be returned, if required. If only very little RNA can be provided we can use alternative protocols that, at present, allow us to work with a minimum of 250 pg of total RNA for RNA-Sequencing or 10ng of total RNA for microarray analyses. However, this decision is made individually.
2 | In our Core Unit, RNA is prepared using Qiagen and Ambion Kits (see / use hyperlinks at the bottom of this page). However, any other purification method which yields RNA of high quality (e.g. phenol-based methods like Trizol) can be used. We always remove genomic DNA during the purification. Please make sure, that a DNA removal step is included in your purification protocol. For questions regarding optimization of RNA purification please contact Heike Schneider or Oliver Dittrich-Breiholz.
3 | If possible, RNA concentration should be 100 ng/µl or higher but must not exceed 2µg/µl. In this latter case, please dilute the respective sample prior to submission.
4 | We file all information electronically. Therefore, all yellow fields thoroughly have to be filled in. If required information is missing, the form cannot be saved ! See the red marks for comments on individual fields. The functionality of the upmost row on top of the section with the sample characteristics - Batch fill/select - can be used to pre-select and transfer information relevant to the whole set of samples automatically in one step !
5 | Save this form when completely filled by clicking on the grey button "Save completely filled RNA submission form" below.
| Date | 2026-07-29
Name (contact person)
Phone (contact person)
Email (contact person)
Principal investigator / Group leader
Institution / Department
| Address | Medizinische Hochschule Hannover, Carl-Neuberg-Str.1, 30625 Hannover
Experimental description
| Preliminary RNA sample number | Sample description | Organism | RNA concentration [ng/µl] | Volume [µl] | RNA amount [µg] | Purification kit | RNA type | DNaseI treatment | Complete RNA sample or just an aliquot provided | Additional identical RNA can be submitted upon request | This column is relevant for RNA re-submission only
| Batch fill/select ► | [10 empty] | ◄ Batch fill/select
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
Additional comments (optional)
Note on B21: The Experimental description should be written in English. All cells or tissues used should be accurately described in particular with respect to any transgenic alterations. Duration, concentration and way of application of all treatments that have been used should be provided. Any abbreviations should be explained. please note: As far as no scientific cooperation has been explicitely arranged, it is of course up to you, whether or not to include detailled information about the biological background here. However, we would like to encourage you to provide us with as much of this information as possible. Only this enables us to provide you with the full range of support e.g. concerning issues like: optimization of the overall study design, implementation of appropriate controls, bypassing of potential pitfalls.
Note on B23: Please label your tubes with these numbers highlighted in orange !
Note on B24: The functionality of the upmost row can be used to pre-select and transfer information relevant to the whole set of samples!
Note on B50: Please use this field to provide us with additional information, e.g. published or own results from RT-PCR, northern or protein analysis of genes that are regulated under the conditions used. Information on such "positive controls" is very valuable for subsequent analysis and data interpretation.
Note on C23: Please insert unique descriptions for all provided samples. You could use the topmost cell to integrate a standard description for all samples first and to modify / specify individual entries thereafter.
Note on D23: Please choose from selection or specify if not contained !
Note on E23: In case, the expected concentration of your samples is below 10ng/µl and you have not performed a photometric measurement, please insert the number 0.
Note on F23: You could use the topmost cell (grey) to integrate an identical volume for all samples !
Note on G23: The RNA amount is calculated automatically !
Note on H23: Please choose from selection or specify if not contained !
Note on I23: Please choose from selection or check !
Note on J23: Please choose from selection !
Note on K23: Please indicate, if you provided the complete RNA sample, which means that total RNA amount is equivalent to the yield for that sample, or, if you have just provided an aliquot ! Please choose from selection !
Note on L23: Please indicate, if you could provide additional identical RNA ! Please choose from selection !
Note on M23: In case, these very RNA samples have already been provided in former submission, please fill-in the previous RNA sample number given by us !
Note on M24: The functionality of the upmost row can be used to pre-select and transfer information relevant to the whole set of samples!

## submission form (2) (hidden)
RNA submission form (quality control)
Please pay attention to the following points !
1 | For RNA quality control, please provide us with a minimum of 3 microliter of your RNA samples.
2 | Analyses will be performed with the Agilent Bioanalyzer 2100. Depending on the actual concentration range of your samples, either the Nano-chip (concentration range: 25 - 500 ng/µl) or the Pico-chip (50 - 5000 pg/µl) will be used. Please make sure that all provided samples fall into one of these quantitative ranges, so that we can analyze all of your samples on the same chip-type. If necessary, please dilute single samples appropriately prior to submission.
3 | Due to the fact, that a Bioanalyzer analysis always requires a full loading with 12 (Nano-chip) or 11 (Pico-chip) samples, we do have to collect samples from different customers until these numbers are reached. Thus, if the amount of provided samples falls below 12 (11) samples, the time span until results are generated could be prolonged. In case, you want to avoid this potential delay, we could initiate analyses even with a lower number of samples per chip. However, in this case we would have to charge a complete chip.
4 | We file all information electronically. Therefore, all yellow fields thoroughly have to be filled in. If required information is missing, the form cannot be saved ! See the red marks for comments on individual fields. The functionality of the upmost row on top of the section with the sample characteristics - Batch fill/select - can be used to pre-select and transfer information relevant to the whole set of samples automatically in one step !
5 | Save this form when completely filled by clicking on the grey button "Save completely filled RNA submission form" below.
| Date | 2026-07-29
Name (contact person)
Phone (contact person)
Email (contact person)
Principal investigator / Group leader
Institution / Department
| Address | Medizinische Hochschule Hannover, Carl-Neuberg-Str.1, 30625 Hannover
Requested type of quality control
| Preliminary RNA sample number | Sample description | Organism | RNA concentration [ng/µl] | Volume [µl] | RNA amount [µg] | Purification kit | RNA type | DNaseI treatment | Complete RNA sample or just an aliquot provided | Additional identical RNA can be submitted upon request | This column is relevant for RNA re-submission only
| Batch fill/select ► | [10 empty] | ◄ Batch fill/select
1
2
3
4
5
6
7
8
9
10
11
12
Additional comments (optional)
Note on B23: Please label your tubes with these numbers highlighted in orange !
Note on B24: The functionality of the upmost row can be used to pre-select and transfer information relevant to the whole set of samples!
Note on B50: Please use this field to provide us with additional information, e.g. published or own results from RT-PCR, northern or protein analysis of genes that are regulated under the conditions used. Information on such "positive controls" is very valuable for subsequent analysis and data interpretation.
Note on C23: Please insert unique descriptions for all provided samples. You could use the topmost cell to integrate a standard description for all samples first and to modify / specify individual entries thereafter.
Note on D23: Please choose from selection or specify if not contained !
Note on E23: In case, the expected concentration of your samples is below 10ng/µl and you have not performed a photometric measurement, please insert the number 0.
Note on F23: You could use the topmost cell (grey) to integrate an identical volume for all samples !
Note on G23: The RNA amount is calculated automatically !
Note on H23: Please choose from selection or specify if not contained !
Note on I23: Please choose from selection or check !
Note on J23: Please choose from selection !
Note on K23: Please indicate, if you provided the complete RNA sample, which means that total RNA amount is equivalent to the yield for that sample, or, if you have just provided an aliquot ! Please choose from selection !
Note on L23: Please indicate, if you could provide additional identical RNA ! Please choose from selection !
Note on M23: In case, these very RNA samples have already been provided in former submission, please fill-in the previous RNA sample number given by us !
Note on M24: The functionality of the upmost row can be used to pre-select and transfer information relevant to the whole set of samples!

## submission form (3) (hidden)
DNA submission form
Please pay attention to the following points !
1 | For Whole Genome-, Exome,- or Methylome sequencing please provide us with 3 μg of genomic DNA per sample in a volume of less than 150 μl. For methylome sequencing, samples are subjected to a bisulfite conversion.
2 | If only small DNA amounts could be provided please contact us in advance. In these cases we might offer the use of alternative protocols, allowing us to perform analyses with as little as 5ng of (high quality) DNA.
3 | For DNA isolation we recommend a phenol-chloroform extraction procedure according to the Current Protocols in Molecular Biology (www.mh-hannover.de/genomics-methods.html). Different isolation procedures (kits) could be used instead but those may lead to a reduction in overall yield and purity. According to our experience, an isolation procedure by use of magnetic beads performs better than a column-based strategy.
4 | We file all information electronically. Therefore, all blue fields thoroughly have to be filled in. If required information is missing, the form cannot be saved ! See the red marks for comments on individual fields. The functionality of the upmost row on top of the section with the sample characteristics - Batch fill/select - can be used to pre-select and transfer information relevant to the whole set of samples automatically in one step !
5 | Save this form when completely filled by clicking on the grey button "Save completely filled DNA submission form" below.
| Date | 2026-07-29
Name (contact person)
Phone (contact person)
Email (contact person)
Principal investigator / Group leader
Institution / Department
| Address | Medizinische Hochschule Hannover, Carl-Neuberg-Str.1, 30625 Hannover
Experimental description
| Preliminary sample number | Sample name | Organism | Volume [µl] | Concentration (Nanodrop) [ng/µl] | Concentration (Qubit) [ng/µl] | Amount [µg] | Ratio Fluorescence/ Absorption | Purification method | Complete sample or just an aliquot provided | Additional identical sample can be submitted upon request | This column is relevant for re-submission only
| Batch fill/select ► | [10 empty] | ◄ Batch fill/select
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
Additional comments (optional)
Note on B21: The Experimental description should be written in English. All cells or tissues used should be accurately described in particular with respect to any transgenic alterations. Duration, concentration and way of application of all treatments that have been used should be provided. Any abbreviations should be explained. please note: As far as no scientific cooperation has been explicitely arranged, it is of course up to you, whether or not to include detailled information about the biological background here. However, we would like to encourage you to provide us with as much of this information as possible. Only this enables us to provide you with the full range of support e.g. concerning issues like: optimization of the overall study design, implementation of appropriate controls, bypassing of potential pitfalls.
Note on B23: Please label your tubes with these numbers highlighted in orange!
Note on B24: The functionality of the upmost row can be used to pre-select and transfer information relevant to the whole set of samples!
Note on B50: Please use this field to provide us with additional information, e.g. published or own results from RT-PCR, northern or protein analysis of genes that are regulated under the conditions used. Information on such "positive controls" is very valuable for subsequent analysis and data interpretation.
Note on C23: Please insert unique sample names. You could use the topmost cell to integrate a standard sample name for all samples first and to modify / specify individual entries thereafter. Characters allowed: a-z, A-Z, 0-9, _
Note on D23: Please choose from selection or specify if not contained!
Note on E23: You could use the topmost cell (grey) to integrate an identical volume for all samples!
Note on F23: In case you have not yet performed any quantification (neither Nanodrop nor Qubit) please leave both columns empty.
Note on G23: In case you have not yet performed any quantification (neither Nanodrop nor Qubit) please leave both columns empty.
Note on H23: The DNA amount is calculated automatically!
Note on I23: The content of this column is calculated automatically!
Note on J23: Please choose from selection or specify if not contained!
Note on K23: Please indicate, if you provided the complete DNA sample, which means that total DNA amount is equivalent to the yield for that sample, or, if you have just provided an aliquot! Please choose from selection!
Note on L23: Please indicate, if you could provide additional identical DNA! Please choose from selection!
Note on M23: In case, these very DNA samples have already been provided in former submission, please fill-in the previous DNA sample number given by us!
Note on M24: The functionality of the upmost row can be used to pre-select and transfer information relevant to the whole set of samples!

## submission form (4) (hidden)
DNA submission form (quality control)
Please pay attention to the following points !
1 | For DNA quality control, please provide us with a minimum of 3 microliter of your samples.
2 | Depending on the nature of your DNA sample, analyses may be performed with the Agilent Bioanalyzer 2100. For this, either the DNA 1000 assay (concentration range: 0.5-50ng; size range: 25-1000bp) or the DNA-HS assay (concentration range: 5-500pg; size range: 50-7000bp) will be used. Please make sure that all provided samples fall into one of these quantitative ranges, so that we can analyze all of your samples on the same chip-type. If necessary, please dilute single samples appropriately prior to submission.
3 | Due to the fact, that a Bioanalyzer analysis always requires a full loading with 12 (DNA 1000 assay) or 11 (DNA HS assay) samples, we may have to collect samples from different customers until these numbers are reached. Thus, if the amount of provided samples falls below 12 (11) samples, the time span until results are generated could be prolonged. In case, you want to avoid this potential delay, we could initiate analyses even with a lower number of samples per chip. However, in this case we would have to charge a complete chip.
4 | We file all information electronically. Therefore, all blue fields thoroughly have to be filled in. If required information is missing, the form cannot be saved ! See the red marks for comments on individual fields. The functionality of the upmost row on top of the section with the sample characteristics - Batch fill/select - can be used to pre-select and transfer information relevant to the whole set of samples automatically in one step !
5 | Save this form when completely filled by clicking on the grey button "Save completely filled DNA submission form" below.
| Date | 2026-07-29
Name (contact person)
Phone (contact person)
Email (contact person)
Principal investigator / Group leader
Institution / Department
| Address | Medizinische Hochschule Hannover, Carl-Neuberg-Str.1, 30625 Hannover
Requested type of quality control
| Preliminary sample number | Sample name | Organism | Volume [µl] | Concentration (Nanodrop) [ng/µl] | Concentration (Qubit) [ng/µl] | Amount [µg] | Ratio Fluorescence/ Absorption | Purification method | Complete sample or just an aliquot provided | Additional identical sample can be submitted upon request | This column is relevant for re-submission only
| Batch fill/select ► | [10 empty] | ◄ Batch fill/select
1
2
3
4
5
6
7
8
9
10
11
12
Additional comments (optional)
Note on B23: Please label your tubes with these numbers highlighted in orange!
Note on B24: The functionality of the upmost row can be used to pre-select and transfer information relevant to the whole set of samples!
Note on B50: Please use this field to provide us with additional information, e.g. published or own results from RT-PCR, northern or protein analysis of genes that are regulated under the conditions used. Information on such "positive controls" is very valuable for subsequent analysis and data interpretation.
Note on C23: Please insert unique sample names. You could use the topmost cell to integrate a standard sample name for all samples first and to modify / specify individual entries thereafter. Characters allowed: a-z, A-Z, 0-9, _
Note on D23: Please choose from selection or specify if not contained!
Note on E23: You could use the topmost cell (grey) to integrate an identical volume for all samples!
Note on F23: In case you have not yet performed any quantification (neither Nanodrop nor Qubit) please leave both columns empty.
Note on G23: In case you have not yet performed any quantification (neither Nanodrop nor Qubit) please leave both columns empty.
Note on H23: The DNA amount is calculated automatically!
Note on I23: The content of this column is calculated automatically!
Note on J23: Please choose from selection or specify if not contained!
Note on K23: Please indicate, if you provided the complete DNA sample, which means that total DNA amount is equivalent to the yield for that sample, or, if you have just provided an aliquot! Please choose from selection!
Note on L23: Please indicate, if you could provide additional identical DNA! Please choose from selection!
Note on M23: In case, these very DNA samples have already been provided in former submission, please fill-in the previous DNA sample number given by us!
Note on M24: The functionality of the upmost row can be used to pre-select and transfer information relevant to the whole set of samples!